**Policy**

Control testing will be performed to ensure that EvenCare G2Meter and EvenCare G2 Test Strips are working properly.

**Procedure**

1. Glucose Control Solutions and EvenCare G2 Test Strips will be used to test meter.
2. Testing will be done when: the first time a meter is used; opening a new bottle of EvenCare G2 Blood Glucose Test Strips; meter is dropped; or test strip bottle is left open.
3. Results will be recorded.