**Purpose**

Ensure proper temperature within medication room where RxNOW machine is stored.

**Procedure**

1. A thermometer will be affixed to the outside of the RxNOW machine as there is no heat generating motor/mechanism inside the machine that would increase the internal temperature.
2. The reading will be taken twice daily and documented on the RxNOW temperature log.
3. Temperature should be between 68-77degrees F. If temperature is above recommended temperature, maintenance will be notified and room will be ventilated.